## Slide 1
By
Dr. Wazir Muhammad Laghari
Electrical Engineering Department
BUET, Khuzdar
Computational Methods in
Power System Analysis
Lecture-10 Solution of Simultaneous Algebraic Equations And Load Flow Studies

## Slide 2: Methods to Solve Solution of Simultaneous Algebraic Equations
Direct Method Iterative Method
Gaussian Elimination Method
Gauss-Jordan Method
Crout’s Reduction Method
Cholesky’s Reduction Method
Elimination Decomposition
Jacobi’s
Method
Gauss-Seidel
Method
Relaxation
Method

## Slide 3
=
R1

## Slide 4
=
R1
=
R2
=

## Slide 5
R3
=
=

## Slide 6
R4
=
=

## Slide 7
R4
=
=

## Slide 8
R2
=
=

## Slide 9
R3
=
=

## Slide 10
R4
=
=

## Slide 11
=
Backward substitution
w = 4
z = 6
y = 27

## Slide 12
syms x y z w
eqn1 = 3*x+6*y+5*z+2*w==2;
eqn2 = 2*x+5*y+2*z-3*w==3;
eqn3 = 4*x+5*y+14*z+14*w==11;
eqn4 = 5*x+10*y+8*z+4*w==4;
sol = solve([eqn1, eqn2, eqn3, eqn4], [x, y, z,w]);
xSol = sol.x
ySol = sol.y
zSol = sol.z
wSol = sol.w

## Slide 13
R2

## Slide 14
R3

## Slide 15
R3

## Slide 16
Subtract 3R1R1

## Slide 17
Add R2R2

## Slide 18
Subtract 2R1R1

## Slide 19
Check
6 -1 +2 =7 7=7
6 +1 -4 = 3 3=3
2*6 -1 -2 = 9 9 = 9

## Slide 28
We observed in equations all diagonal values are greater than other variables in same row, than Jacobi’s applicable to solve system of linear equations

## Slide 35
18 = 18
19=19
22 = 22

## Slide 36: Gauss Seidal Method
to solve next iteration

## Slide 37
 | 1 | 2 | 3 | 
 | 0 |  |  | 
 | 0 |  |  | 
 | 0 |  |  | 
 | 1 | 2 | 3 | 
 | 0 |  |  | 
 | 0 |  |  | 
 | 0 |  |  | 

## Slide 39: Newton Raphson Method
Xn+1 = Xn – f(xn )/ f’ (xn )
Example: Apply newton Raphson Method, to find the real roots of equation
f(x) = 3x – cos(x) - 1
f’(x) = 3 + sin(x)

## Slide 40
Value*(180/pi) = 57.2957 values in degree
f(x) = 3x – cos(x) - 1
f(0) = 3*0 – cos(0) - 1 = -Ve
f(1) = 3*1 – cos (57.2957) - 1 = +ve
x0 = 0.6
Newton Raphson Method

## Slide 41
Xn+1 = Xn – f(xn )/ f’ (xn )
Xn+1 = Xn –{3x – cos(x) - 1}/ {3 + sin(x) }
-------------(A)
Put n = 0
x1 = [x0 *sinx0 + cosx0 + 1]/(3 + sinx0)
x1 = [0.6 *sin(0.6* 57.2957 ) + cos(0.6* 57.2957) + 1]/(3 + sin(0.6* 57.2957 ))
x1 = 0.6071
Newton Raphson Method

## Slide 42
Put n = 1
x2 = [x1 *sinx1 + cosx1 + 1]/(3 + sinx1)
x2 = [0.6071 *sin(0.6071* 57.2957) + cos(0.6071* 57.2957) + 1]/(3 + sin(0.6071* 57.2957))
x2 = 0.6071
Newton Raphson Method