## Slide 3: Single Line TO Ground Fault
In this case any line of 3-phase is short is called as Single-Line-To-Ground Fault

## Slide 4
In this Figure Fault occur on Red phase, and than R-phase is short with ground
https://www.youtube.com/watch?v=zY7zKS3i4K0

## Slide 5
EMF of R-Phase
EMF of Y-Phase
EMF of B-Phase
Short circuit occur at R-Phase, than current is infinity and voltage of VR is = 0
These both line are open, so current can not flow, so Iy = 0 and IB = 0
Sequence components zero, +ve and –ve components