## Slide 1
By
Dr. Wazir Muhammad Laghari
Electrical Engineering Department
BUET, Khuzdar
Computational Methods in
Power System Analysis
Lecture-10 Solution of Simultaneous Algebraic Equations And Load Flow Studies

## Slide 2: Methods to Solve Solution of Simultaneous Algebraic Equations
Direct Method Iterative Method
Gaussian Elimination Method
Gauss-Jordan Method
Crout’s Reduction Method
Cholesky’s Reduction Method
Elimination Decomposition
Jacobi’s
Method
Gauss-Seidel
Method
Relaxation
Method

## Slide 4: CLASSIFICATION OF BUSES
Q: How many variables find on each bus?
Ans: Four parameters we can find on each bus such as Voltage (V), Active Power (P), Reactive Power (Q) and Angle ().
Q: How many variables find on 10 buses?
Ans: We find 10*4 = 40 variables, if n bus system than we find 4n variables.

## Slide 6: SLACK BUS
Slack Bus is also called as Reference Bus or Swing Bus.
In Slack Bus Known quantity is V and Angle and Unknown quantity is P and Q.
Q: Why Slack Bus is called as a Reference Bus?
Ans: Suppose you want to take any n-bus system or 3-bus system. So any one-bus take as a reference to compare other buses. In a reference bus we take as a zero angle to compare other buses.
Bus:1 = 1<00 means we have two quantity known voltage and angle.

## Slide 8: SLACK BUS

## Slide 12: JACOBIAN MATRIX
Q: Find the Jacobian of the Transformation
(1)
SOLUTION
Calculate the partial derivative of equation (1) w.r.t.u and w.r.t.y
Calculate the partial derivative of equation (2) w.r.t.u and w.r.t.y

## Slide 14: JACOBIAN MATRIX
Q: Find the Jacobian of the Transformation
SOLUTION

## Slide 16: JACOBIAN MATRIX
Calculate the partial derivative of equation (1) w.r.t.u , w.r.t.v, and w.r.t.w
Calculate the partial derivative of equation (2) w.r.t.u , w.r.t.v, and w.r.t.w
Calculate the partial derivative of equation (3) w.r.t.u , w.r.t.v, and w.r.t.w

## Slide 18: Gauss Seidal Method
to solve next iteration
:

## Slide 20: Gauss Seidal Method
First Iteration
Second Iteration Put values

## Slide 22: Three Buses
Slack Bus or Reference Bus only Voltage and Angle specified
Generator Bus (PV Bus) P and V is Specified.
Load Bus (PQ Bus) P and Q is Specified.

## Slide 26
Compare Equation (1) and (4)

## Slide 28
Suppose we want equation At Bus 2, k = 2
Similarly, we want equation At Bus 3, k = 3

## Slide 32
Iterative method is used to solve non-linear equations and it will start with guess values
Here we apply Iterative method for one iteration and find the voltages of four buses V1, V2, V3, V4
Line Impedances = R + jX