## Slide 1: SEQUENCE NETWORKS
Chapter -10
Power System Analysis by
Hadi Saadat

## Slide 3
Mutual Induction or mutual coupling such as Transformer or Transmission Line cases
So we take voltage with a reference in this case we used ground as a reference
Self impedance coupling

## Slide 5
(

## Slide 6
(
Convert these equations into matrix forms
Write in Compact form

## Slide 7
Convert these equations into matrix forms
Now convert equation (10.26) of each phasor domain vector into corresponding symmetrical components.

## Slide 8
Multiply A-1 on both sides with equation (10.28)
(10.30)

## Slide 9
Put values in equation (10.30)
Observed principal diagonal available and off diagonal all are zeros
If not mutual coupling between them, then Zm = 0

## Slide 11: Sequence Network of Three Phase Load

## Slide 12: Sequence Network of Three Phase Load
In positive sequence Neutral Current is zero
Now we draw per phase equivalent circuit
-ve due to opposite polarity

## Slide 13
Per-phase
But current is same, in this value of current is different
Sequence Network of Three Phase Load
Sequence impedances of Delta Load, first we convert Delta into Star than use this notations
Sequence impedances of Star Load

## Slide 14
Sequence Network of Alternator
Negative and zero sequences EMF is not available

## Slide 15
Sequence Network of Transmission Line